| Heat Exchanger Specification Sheet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Company: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Service of Unit: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Our Reference: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item No.: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Your Reference: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  | Rev No.: |  |  |  |  |  |  |  |  |  | Job No.: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Size: |  |  |  | -- |  |  |  |  |  |  | in |  |  |  |  |  |  | (A) TEMAType: |  |  |  |  |  |  |  |  |  |  |  |  |  | (A) Hor/Vert |  |  |  |  |  |  |  |  | Connected in |  |  |  |  |  |  |  |  |  |  | parallel |  |  |  |  |  | series |  |  |  |
| Surf/unit(eff.) |  |  |  |  |  |  |  |  |  |  | ft2 |  |  |  |  |  |  | Shells/unit |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Surf/shell (eff.) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ft2 |  |  |  |  |
| PERFORMANCE OF ONE UNIT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (A) Fluid allocation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Shell Side |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Tube Side |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (A) Fluid name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (A) Fluid quantity, Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | lb/h |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | (A) Vapor (In/Out) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | lb/h |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | (A) Liquid |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | lb/h |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | (A) Steam |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | lb/h |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | (A) Water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | lb/h |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | (A) Noncondensable |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | lb/h |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (A) Temperature (In/Out) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | °F |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | (B) Dew / Bubble point |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | °F |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (B) Density (Vap / Liq) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | lb/ft3 |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  | / |  |  |
| (B) Viscosity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | cp |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  | / |  |  |
| (B) Molecular wt, Vap |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (B) Molecular wt, NC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (B) Specific heat (Vap / Liq) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | BTU/(lb*F) |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  | / |  |  |
| (B) Thermal conductivity (Vap / Liq) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | BTU/(ft*h*F) |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  | / |  |  |
| (B) Latent heat |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | BTU/lb |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (A) Pressure (abs) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | psia |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Velocity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ft/s |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (A) Pressure drop, allow./calc. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | psi |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fouling resist. (min) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ft2*h*F/BTU |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Heat exchanged |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | BTU/h |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | MTD corrected |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | °F |  |
| Transfer rate, Service |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Dirty |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Clean |  |  |  |  |  |  |  |  |  |  |  |  | BTU/(h*ft2*F) |  |  |  |  |  |  |  |  |
| (C) CONSTRUCTION OF ONE SHELL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Sketch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Shell Side |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Tube Side |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (A) Design/Ext Pressure |  |  |  |  |  |  |  |  |  | psig |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| (A) Design temperature |  |  |  |  |  |  |  |  |  | °F |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Number passes per shell |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Corrosion allowance |  |  |  |  |  |  |  |  |  | in |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Connections |  |  |  |  | In |  |  |  |  | in |  |  | (#) |  |  | (NPS) |  |  |  | / |  | (Rating #) |  |  |  |  |  |  | (#) |  | (NPS) |  |  |  |  | / | (Rating #) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Size/rating |  |  |  |  | Out |  |  |  |  |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nominal |  |  |  |  | Intermediate |  |  |  |  |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | / |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tube No. |  |  |  |  |  |  |  |  |  |  |  | OD |  |  |  |  |  |  |  |  | Tks- |  |  | Avg |  | (Ga) |  |  |  |  |  |  | in |  | Length |  |  |  |  |  |  |  |  |  | in |  |  |  | Pitch |  |  |  |  |  |  |  |  |  |  |  | in |  |
| Tube type |  | (Plain/Finned) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Material |  |  |  |  | (Spec #/Mat/Wld or Smls) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Tube pattern |  |  |  |  |  |  |  |  | (30,60,45,90) |  |  |  |  |  |  |
| Shell |  | (Material) |  |  |  |  |  |  |  |  |  | ID |  |  |  |  |  |  |  |  | OD |  |  |  |  |  |  |  |  |  |  |  | in |  | Shell cover |  |  |  |  |  |  |  |  |  |  |  | (Material) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Channel or bonnet |  |  |  |  |  | (Material) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Channel cover |  |  |  |  |  |  |  |  |  |  |  | (Material) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tubesheet-stationary |  |  |  |  |  | (Material) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Tubesheet-floating |  |  |  |  |  |  |  |  |  |  |  | (Material) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Floating head cover |  |  |  |  |  | (Material) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Impingement protection |  |  |  |  |  |  |  |  |  |  |  | (Y/N/Type) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Baffle-crossing |  |  | (Material) | Type |  |  | (Single/Dbl/Tri) |  | Cut(%d) |  |  |  |  |  |  |  |  |  | Spacing: c/c |  | (Baffle Spacing) |  | in |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Baffle-long |  |  | (Material) |  |  |  | Seal type |  |  |  |  |  |  |  |  |  |  |  | Inlet |  |  |  | in |
| Supports-tube |  |  | (Material) |  |  |  | U-bend |  |  |  | Type |  |  |  |  |  |  |  |  |  |  |  |  |
| Bypass seal |  |  | (Material) |  |  | Tube-tubesheet joint |  |  |  | (Exp,Seal Wld, Str Wld) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Expansion joint |  |  | (Material) |  |  | Type |  |  |  | (F&F,Bellows) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RhoV2-Inlet nozzle |  |  |  |  | Bundle entrance |  |  |  |  |  |  |  |  |  |  | Bundle exit |  |  |  |  |  | lb/(ft*s2) |  |
| Gaskets - Shell side |  |  | (Material) |  |  | Tube Side |  | (Material) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Floating head |  | (Material) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Code requirements |  |  |  |  |  |  |  |  |  |  |  | TEMA class |  |  |  |  | (B,C,R) |  |  |  |  |  |  |
| Weight/Shell |  |  |  |  | Filled with water |  |  |  |  |  |  |  |  |  |  | Bundle |  |  |  |  |  |  | lb |
| Remarks |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |